Time Stitching and Eventbuilding for Experiment S455 (and S515)
Tobias Jenegger
R3B Collaboration Meeting 2021
First Unpacking Issues
Event Building before/after 2020
Recipe for Time Sorting and Stitching
First Results from S455 (p,2pf) reaction
Supported by BMBF 05P15WOFNA and 05P19WOFN1.
The results presented here are based on the experiment s444/s473, which was performed at the beam line/infrastructure Cave C at the GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt (Germany) in the frame of FAIR Phase-0.
Physics with R3B
CALIFA – Design
TUM Members:
Roman Gernhäuser,Lukas Ponnath,Philipp Klenze,Tobias Jenegger

---
Issues in online/offline Data Analysis starting from S455
When using the known unpacking tools from previous experiment we got:
Events with hit-multiplicities > 500 !?
Sharp peak for strong correlation WRM- WRCalifa expected!
Is the data corrupted? Has something gone wrong during data acquisition?
How is data processed and stored to .lmd file?

---
Data Acquisition/Event Building until 2020
CALIFA DAQ (Multi Event Readout)
Hit Block from ME or WIX (not time sorted)
“Häcksler”
Splits up the Hit Block
Time sorting
(Febex time to WR time)
DRASI TO
(time order)
R3BOnline
WR Readout
WR
WR
WR
WR
WR
WR
WR
WR
WR
MAIN DAQ
Other Detectors
File (LMD)

---
Offline Time Stitching until 2020
Ucesb Time Stitcher
Event i+1
Event i+2
Time Stitching Algorithm
time sorted hits
First detected hit opens event window
Time Stitcher does not distinguish between CALIFA, Main DAQ,.. hits
Event window is closed after predefined time (eg. 8 μs)
: main DAQ hit
: CALIFA hit
: other detector hit (e.g. MWPC1, TWIM,...)
File (LMD)
time
time
Event i

---
Data Acquisition/Event Building since 2021
CALIFA DAQ (Multi Event Readout)
DRASI TO
(time order)
NO HÄCKSLER!
R3BOnline
Hit Block from ME or WIX (not time sorted)
WR Readout
MAIN DAQ
Other Detectors
File (LMD)

---
Output LMD File since 2021
CALIFA Hits are collected to Hit Blocks (Messel or Wixhausen)
Hit Blocks are sorted according to the WR Readout timestamp ( )
Hits inside Block are not time sorted !
 CALIFA single hit time sorting needed!
File (LMD)
time
ME
WIX
WIX

---
Offline Time Sorting and Stitching since 2021
Ucesb Time Stitcher
WIX
WIX
ME
time
“Häcksler” - Messel
time sorted
“Häcksler” - Wixhausen
merging both sides
time sorted
File (LMD)
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
Event i
Event i+2
Event i+1
time

---
Time Sorting and Stitching with Philipp‘s script
califa_merge_stitch.bash1
Non CALIFA
Hits
Messel
Hit Block
Ucesb Time Stitcher2
sorted &
stitched
File (LMD)
Merger2
Wixhausen
Hit Block
split califa/non_califa2
“Häcksler”3
1You can find it: /u/land/lynx.landexp/202105_s494/scripts/califa_merge_stitch.bash
2Unpacker: /u/land/klenze/ucesb_gcc6/empty/empty
3Unpacker: /u/land/landexp/202105_s494/x86l-76/daq_bootstrap/ucesb_wip/empty/empty
File (LMD)
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR
WR

---
How to use the script
Location:
Always use the newest version you find in: /u/land/lynx.landexp/202105_s494/scripts/califa_merge_stitch.bash
Call Parameters:
an input, either a file path, stream of trans server
an output for the merged data ( *.lmd file; “ “ for “no output; ucesb - -server option)
an output for the stitched data ( *.lmd file; “ “ for “no output; ucesb - -server option)
Example:
califa_merge_stitch.bash run10.lmd “ “ stitched_run10.lmd
Output .lmd stitched data
Input .lmd file
No output merged data

---
Looking again at S455 Data
Multiplicities:
238U fission via quasi-free-scattering (p,2pf)
238U
LH2 target
Summed θ angle of two protons:

---
Summary & Outlook
We successfully unpacked the S455 data
Well tested and user friendly Time Sorting and Stitching script is available:
/u/land/lynx.landexp/202105_s494/scripts/califa_merge_stitch.bash
Same procedure for experiments after S455 (e.g. S515) → this has to be accurately tested
CALIFA upexps code was recently unified, experiment independent with one mapping file for all experiments

---
Thank you!
CALIFA @ Technical University of Munich (TUM)
Roman Gernhäuser, Lukas Ponnath, Philipp Klenze, Tobias Jenegger
Thank you!

---
Backup